Draft sample

COLLEGE OF MICRONESIA-FSM CAMPUS SITES

BUILDING INSPECTION CHECKLIST

Location:                                                                                                                         Exterior:

1. Is the building address or identification clearly visible?                                   Yes    No

2. Are exterior lights in working order?                                                                   Yes    No

3. Are periodic inspections conducted and documented?                                   Yes    No

4. Is an unobstructed access road to the building provided?                               Yes    No

5. Are the exits onto public streets free from visibility obstructions?                Yes    No

6. Are trees and shrubs pruned and documented?                                               Yes    No

7. Are roots pruned and documented?                                                                   Yes    No

8. Are all building sides accessible to emergency equipment?                           Yes    No

9. Are fire hydrants accessible?                                                                                Yes   No    N/A

10. Are sprinkler/standpipe connections accessible?                                          Yes    No    N/A

11. Are sprinkler/standpipe connections clearly marked?                                 Yes    No    N/A

12. Are landscape sprinklers at least 6 inches from walkways or pathways?   Yes    No    N/A

13. Does the building appear to be in good repair?                                               Yes    No

14. Is building free from signs of vandalism?                                                           Yes    No

15. Are exterior walls free from cracks or other damages?                                      Yes    No    N/A

16. Are windows free from cracks or broken panes?                                                 Yes    No    N/A

17. Has vegetation been cut back from the building?                                               Yes    No    N/A

18. Are turf areas inspected for holes, exposed roots, etc. and documented?    Yes    No    N/A

19. Are paved surfaces inspected and repaired (i.e., lifts, cracks, etc.)?                 Yes    No

20. Are combustible materials stored away from the building?                               Yes    No    N/A

21. Is the building free from signs of exterior damage?                                          Yes    No    N/A

22. Are stairs, landings and handrails in good repair and fastened securely?

(inspect the bottom of each step)                                                                              Yes    No

23. Are facilities periodically inspected and documented?                                    Yes    No

24. Are all sewer clean out caps in place?                                                                  Yes    No

25. Are all irrigation covers in place?                                                                           Yes    No    N/A

26. Are housing authority owned light post bases free of rust and/or deterioration?   Yes    No    N/A

27. Do entrance doors close slowly to avoid hazards to fingers?                           Yes    No

28. Are utility/cable boxes marked "Keep Off"?                                                       Yes    No    N/A

Interior:

Electrical System:Building Inspection Checklist Page 2

29. Are all electrical panels secured?                                                                          Yes    No    N/A

30. Is a 3' clearance provided around all electrical panels?                                    Yes    No    N/A

31. Are all electrical rooms free from combustible storage?                                 Yes    No    N/A

32. Are all electrical panels cool to the touch?                                                         Yes    No    N/A

33. Are all electrical panels free from evidence of burning?                                  Yes    No    N/A

34. Have all electrical circuits been identified?                                                        Yes    No    N/A

35. Are all electrical switches and receptacles in good repair?                             Yes    No    N/A

36. Has the use of extension cords been discontinued?                                        Yes    No    N/A

37. Have Ground Fault Interrupter's been provided on circuits in proximity to water?   Yes    No    N/A

38. Is there a "lock-out" procedure in place?                                                         Yes    No    N/A

Heating System:

39. Is a 3' clearance provided around all heating equipment?                             Yes    No    N/A

40. Are furnace/boiler rooms kept locked?                                                             Yes    No    N/A

41. Are furnace/boiler rooms free from combustible storage?   Yes    No    N/A

42. Are residents reminded to keep combustibles away from heaters?   Yes    No    N/A

Smoking:

43. Is smoking prohibited in the building common areas?   Yes    No

44. Are designated smoking areas properly identified?   Yes    No    N/A

45. Are non-combustible receptacles provided in smoking areas?   Yes    No    N/A

46. Are smoking materials disposed of properly?   Yes    No    N/A

Housekeeping:

47. Is trash removed from the building daily?   Yes    No

48. Is storage restricted to designated areas?   Yes    No    N/A

49. Is storage neatly arranged and secured from rolling away?   Yes    No    N/A Building Inspection Checklist Page 3

Private Protection:

50. Is building equipped with an automatic sprinkler system?   Yes    No

51. Is the main sprinkler control valve accessible?   Yes    No    N/A

52. Are all valves supplying water or air to the system open?   Yes    No    N/A

53. Is system operation monitored by an alarm company?   Yes    No    N/A

54. Is valve operation monitored by an alarm company?   Yes    No    N/A

55. Is the sprinkler system tested on a quarterly basis and documented?   Yes    No    N/A

56. Are spare sprinkler heads available in the building?   Yes    No    N/A

57. Is the building equipped with a fire detection system?   Yes    No

58. Does the system protect the entire building?   Yes    No    N/A

59. Does the system provide an alarm signal in the building?   Yes    No    N/A

60. Is system tested on a monthly basis and documented?   Yes    No    N/A

61. Is the main alarm panel in normal operating condition?   Yes    No    N/A

62. Are portable fire extinguishers provided?   Yes    No

63. Are all extinguishers inspected on a monthly basis and documented?   Yes    No    N/A

64. Do all extinguishers have a current inspection tag?   Yes    No    N/A

Emergency Evacuation:

65. Are all exits and travel paths identified with illuminated "EXIT" signs?   Yes    No

66. Are travel paths leading to exits free of obstructions?   Yes    No

67. Are exits unlocked and operational?   Yes    No

68. Are working emergency lights provided in the building?   Yes    No

69. Are emergency lights tested periodically and documented?   Yes    No

70. Are evacuation diagrams posted throughout the building?   Yes    No

Miscellaneous:

71. Has flammable storage been limited to designated areas?   Yes    No    N/A

72. Is all cooking equipment protected by extinguishing systems?   Yes    No    N/A

73. Is cooking equipment clean?   Yes    No    N/A

74. Are filters inspected periodically and documented?   Yes    No    N/A

75. Are all computer areas free from combustible storage?   Yes    No    N/A Building Inspection Checklist  Page 4

NOTIFY YOUR SUPERVISOR IF ANY QUESTIONS WERE ANSWERED "NO"

Inspected By:            Date:

The following items have been followed-up on.  This has been accomplished by putting them on a work order: